## Version history
Version | Changes | Change Date | External Firmware Version
v1.01 | Inherits the Modbus address table of the AcuDC-260 series. | 2025-05-09 | /
v1.02 | 1. "TransactionLog" Sheet is added 2. Add "Clear Transaction Log" & "Clear Echilog" in Basic Configuration-->Basic Meter Settings 3. Add [transaction id for channel x in charging] to [TransactionLog] | 2025-09-10 | /
| 1. Added a “transaction timeout 2 (seconds)” register to the Setting block in the TransactionLog sheet. 2. Added a “transaction is in charging” state to the OCMF file generate state register in the TransactionLog sheet. | 2025-09-28 | /
| Default year is set to [2024] and default week is set to [1] in [Real-time clock] | 2025-10-20 | v1.02p03
| Change length of public key from 65 bytes to 91 bytes. | 2025-11-04 | v1.02p08

## Overview
Block | Sector | Sheet | Start | End | Length(reg num) | Comments
Basic Configuration | Basic Meter Settings | Basic Configuration | 0x1000 | 0x1036 | 55
| Real-Time Clock | Basic Configuration | 0x103F | 0x1045 | 7
Readings | Real-Time Parameters (float) | Readings | 0x3000 | 0x3023 | 36
| Real-time Parameters (float) 20ms | Readings | 0x3100 | 0x3117 | 24
| Real-Time Parameters (int) | Readings | 0x3200 | 0x3211 | 18
| Energy and Charge (double) | Readings | 0x4000 | 0x405F | 96
Max/Min | Max | Max/Min | 0x4136 | 0x41C5 | 144
| Min | Max/Min | 0x41E5 | 0x4244 | 96
TransactionLog | Setting | TransactionLog | 0x5000 | 0x508E | 143
| Block & Id | TransactionLog | 0x5100 | 0x5106 | 7
| Reading | TransactionLog | 0x5200 | 0x548B | 652
| Status | TransactionLog | 0x5500 | 0x5504 | 5
Echilog | Status | Echilog | 0x5700 | 0x5703 | 4
| Reading | Echilog | 0x5800 | 0x587B | 124
Custom Reading | Custom Reading | Basic Configuration | 0x6A00 | 0x6A27 | 40
| Custom Reading Settings | Basic Configuration | 0x6B00 | 0x6B28 | 41
Public Key | public key | TransactionLog | 0xF0C0 | 0xF0ED | 46

## Basic Configuration
Block | Start(Hex) | End(Hex) | Start(Dec) | End(Dec) | Descrption | Data type | RW | Reg Num | Range | Default
Basic Meter Settings | 0x1000 | 0x1000 | 4096 | 4096 | Meter password | uint16_t | R/W | 1 | 0－9999 | 0
| 0x1001 | 0x1001 | 4097 | 4097 | RS485 baud rate | uint16_t | R/W | 1 | 2400; 4800; 9600; 19200; 38400; 57600; 7680 (76800); 11520 (115200) | 19200
| 0x1002 | 0x1002 | 4098 | 4098 | RS485 parity | uint16_t | R/W | 1 | 0：even 1：odd 2：Non2 3：Non1 | 0
| 0x1003 | 0x1003 | 4099 | 4099 | DHCP enable | uint16_t | R/W | 1 | 0: manual 1: DHCP | 0
| 0x1004 | 0x1004 | 4100 | 4100 | IP address 1st byte (high) IP address 2nd byte (low) | uint16_t | R/W | 1 | 0~255 | 192 168 1 254
| 0x1005 | 0x1005 | 4101 | 4101 | IP address 3rd byte (high) IP address 4th byte (low) | uint16_t | R/W | 1 | 0~255
| 0x1006 | 0x1006 | 4102 | 4102 | Subnet mask 1st byte (high) Subnet mask 2nd byte (low) | uint16_t | R/W | 1 | 0~255 | 255 255 255 0
| 0x1007 | 0x1007 | 4103 | 4103 | Subnet mask 3rd byte (high) Subnet mask 4th byte (low) | uint16_t | R/W | 1 | 0~255
| 0x1008 | 0x1008 | 4104 | 4104 | Gateway 1st byte (high) Gateway 2nd byte (low) | uint16_t | R/W | 1 | 0~255 | 192 168 1 1
| 0x1009 | 0x1009 | 4105 | 4105 | Gateway 3rd byte (high) Gateway 4th byte (low) | uint16_t | R/W | 1 | 0~255
| 0x100A | 0x100A | 4106 | 4106 | DNS primary server 1st byte (high) DNS primary server 2nd byte (low) | uint16_t | R/W | 1 | 0~255 | 8 8 8 8
| 0x100B | 0x100B | 4107 | 4107 | DNS primary server 3rd byte (high) DNS primary server 4th byte (low) | uint16_t | R/W | 1 | 0~255
| 0x100C | 0x100C | 4108 | 4108 | DNS secondary server 1st byte (high) DNS secondary server 2nd byte (low) | uint16_t | R/W | 1 | 0~255 | 8.8.4.4
| 0x100D | 0x100D | 4109 | 4109 | DNS secondary server 3rd byte (high) DNS secondary server 4th byte (low) | uint16_t | R/W | 1 | 0~255
| 0x100E | 0x100E | 4110 | 4110 | Modbus Slave ID | uint16_t | R/W | 1 | 1-247, used for both Modbus RTU and TCP | 1
| 0x100F | 0x100F | 4111 | 4111 | Modbus RTU Enable | uint16_t | R/W | 1 | 0: disable 1: enable | 1
| 0x1010 | 0x1010 | 4112 | 4112 | Modbus TCP Enable | uint16_t | R/W | 1 | 0: disable 1: enable | 1
| 0x1011 | 0x1011 | 4113 | 4113 | Modbus TCP port | uint16_t | R/W | 1 | 1-65534 | 502
| 0x1012 | 0x1012 | 4114 | 4114 | PT1 | uint16_t | R/W | 1 | fixed as 1000 for now | 1000
| 0x1013 | 0x1013 | 4115 | 4115 | PT2 | uint16_t | R/W | 1 | fixed as 1000 for now
| 0x1014 | 0x1014 | 4116 | 4116 | CT11 | uint16_t | R/W | 1 | 20 - 50000 A | 50 (Factory 600)
| 0x1015 | 0x1015 | 4117 | 4117 | CT12 | uint16_t | R/W | 1 | 0-100 (mV) | 75 (Factory 25)
| 0x1016 | 0x1018 | 4118 | 4120 | Reserved | uint16_t | R/W | 3
| 0x1019 | 0x1019 | 4121 | 4121 | Energy pulse parameter | uint16_t | R/W | 1 | 0: None 1: Energy 2: Charge | 0
| 0x101A | 0x101A | 4122 | 4122 | Energy pulse type | uint16_t | R/W | 1 | 0: EV_IMPORT, 1: EV_EXPORT, 2: EV_NET, // Imp - Exp 3: EV_TOTAL, // Imp + Exp | 0
| 0x101B | 0x101B | 4123 | 4123 | Energy reading type | uint16_t | R/W | 1 | 0: Primary 1: Secondary | 0
| 0x101C | 0x101C | 4124 | 4124 | Real-time reading type | uint16_t | R/W | 1 | 0: Secondary 1: Primary | 0
| 0x101D | 0x101D | 4125 | 4125 | Reserved 2 | uint16_t | R/W | 1 |  | 0
| 0x101E | 0x101E | 4126 | 4126 | Clear max/min | uint16_t | R/W | 1 | 0: None 1: Clearing | 0
| 0x101F | 0x101F | 4127 | 4127 | Clear device run time | uint16_t | R/W | 1 | 0: None 1: Clearing | 0
| 0x1020 | 0x1020 | 4128 | 4128 | Clear energy | uint16_t | R/W | 1 | 0: None 1: Clearing | 0
| 0x1021 | 0x1021 | 4129 | 4129 | Factory reset | uint16_t | R/W | 1 | 0: None 1: Resetting | 0
| 0x1022 | 0x1022 | 4130 | 4130 | Backlight time | uint16_t | R/W | 1 | 0－120 | 0
| 0x1023 | 0x1023 | 4131 | 4131 | Seal status | uint16_t | R | 1 | Sealed: 0x0A | 0
| 0x1024 | 0x1024 | 4132 | 4132 | Device run time (high 16 bits) | uint16_t | R | 1
| 0x1025 | 0x1025 | 4133 | 4133 | Device run time (low 16 bits) | uint16_t | R | 1
| 0x1026 | 0x1026 | 4134 | 4134 | Clear charge | uint16_t | R/W | 1 | 0: None 1: Clearing
| 0x1027 | 0x1027 | 4135 | 4135 | Network reset | uint16_t | R/W | 1 | 0: None 1: Resetting
| 0x1028 | 0x1028 | 4136 | 4136 | CT21 | uint16_t | R/W | 1 | 20 - 50000 A | 50
| 0x1029 | 0x1029 | 4137 | 4137 | CT22 | uint16_t | R/W | 1 | 0-100 (mV) | 75
| 0x102A | 0x102A | 4138 | 4138 | Device load time (high 16 bits) | uint16_t | R | 1
| 0x102B | 0x102B | 4139 | 4139 | Device load time (low 16 bits) | uint16_t | R | 1
| 0x102C | 0x102C | 4140 | 4140 | Clear load time | uint16_t | R/W | 1 | 0: None 1: Clearing | 0
| 0x102D | 0x102D | 4141 | 4141 | Enable cable loss compensation | uint16_t | R/W | 1 | 0: Disable 1: Enable | 0
| 0x102E | 0x102E | 4142 | 4142 | Cable 1 resistance (high 16 bits) | uint16_t | R/W | 1 | 0 ~ 9999999 | 0
| 0x102F | 0x102F | 4143 | 4143 | Cable 1 resistance (low 16 bits) | uint16_t | R/W | 1 | 0 ~ 9999999 | 0
| 0x1030 | 0x1030 | 4144 | 4144 | Cable 2 resistance (high 16 bits) | uint16_t | R/W | 1 | 0 ~ 9999999 | 0
| 0x1031 | 0x1031 | 4145 | 4145 | Cable 2 resistance (low 16 bits) | uint16_t | R/W | 1 | 0 ~ 9999999 | 0
| 0x1032 | 0x1033 | 4146 | 4147 | Energy pulse constant | uint16_t | R/W | 2 | 1 - 50000000 (0.0001 - 5000) | 1000000 (100)
| 0x1034 | 0x1034 | 4148 | 4148 | Pulse Channel ID | uint16_t | R/W | 1 | 0: Ch1 1: Ch2 2: Sum
| 0x1035 | 0x1035 | 4149 | 4149 | Clear Transaction Log | uint16_t | R/W | 1 | 0: None 1: Clearing
| 0x1036 | 0x1036 | 4150 | 4150 | Clear Echilog | uint16_t | R/W | 1 | 0: None 1: Clearing
Real-time clock | 0x103F | 0x103F | 4159 | 4159 | Week | uint16_t | R/W | 1 | 1~7 | 1
| 0x1040 | 0x1040 | 4160 | 4160 | Year | uint16_t | R/W | 1 | 2000~2099 | 2024
| 0x1041 | 0x1041 | 4161 | 4161 | Month | uint16_t | R/W | 1 | 1~12 | 1
| 0x1042 | 0x1042 | 4162 | 4162 | Day | uint16_t | R/W | 1 | 1~31 | 1
| 0x1043 | 0x1043 | 4163 | 4163 | Hour | uint16_t | R/W | 1 | 0~23 | 0
| 0x1044 | 0x1044 | 4164 | 4164 | Minute | uint16_t | R/W | 1 | 0~59 | 0
| 0x1045 | 0x1045 | 4165 | 4165 | Second | uint16_t | R/W | 1 | 0~59 | 0
Custom reading settings | 0x6B00 | 0x6B00 | 27392 | 27392 | Number of byte set | uint16_t | R | 1 |  | 0
| 0x6B01 | 0x6B01 | 27393 | 27393 | 1st reading | uint16_t | R/W | 1 |  | 0
| 0x6B02 | 0x6B02 | 27394 | 27394 | 2nd reading | uint16_t | R/W | 1 |  | 0
| 0x6B03 | 0x6B03 | 27395 | 27395 | 3rd reading | uint16_t | R/W | 1 |  | 0
| 0x6B04 | 0x6B04 | 27396 | 27396 | 4th reading | uint16_t | R/W | 1 |  | 0
| 0x6B05 | 0x6B05 | 27397 | 27397 | 5th reading | uint16_t | R/W | 1 |  | 0
| 0x6B06 | 0x6B06 | 27398 | 27398 | 6th reading | uint16_t | R/W | 1 |  | 0
| 0x6B07 | 0x6B07 | 27399 | 27399 | 7th reading | uint16_t | R/W | 1 |  | 0
| 0x6B08 | 0x6B08 | 27400 | 27400 | 8th reading | uint16_t | R/W | 1 |  | 0
| 0x6B09 | 0x6B09 | 27401 | 27401 | 9th reading | uint16_t | R/W | 1 |  | 0
| 0x6B0A | 0x6B0A | 27402 | 27402 | 10th reading | uint16_t | R/W | 1 |  | 0
| 0x6B0B | 0x6B0B | 27403 | 27403 | 11th reading | uint16_t | R/W | 1 |  | 0
| 0x6B0C | 0x6B0C | 27404 | 27404 | 12th reading | uint16_t | R/W | 1 |  | 0
| 0x6B0D | 0x6B0D | 27405 | 27405 | 13th reading | uint16_t | R/W | 1 |  | 0
| 0x6B0E | 0x6B0E | 27406 | 27406 | 14th reading | uint16_t | R/W | 1 |  | 0
| 0x6B0F | 0x6B0F | 27407 | 27407 | 15th reading | uint16_t | R/W | 1 |  | 0
| 0x6B10 | 0x6B10 | 27408 | 27408 | 16th reading | uint16_t | R/W | 1 |  | 0
| 0x6B11 | 0x6B11 | 27409 | 27409 | 17th reading | uint16_t | R/W | 1 |  | 0
| 0x6B12 | 0x6B12 | 27410 | 27410 | 18th reading | uint16_t | R/W | 1 |  | 0
| 0x6B13 | 0x6B13 | 27411 | 27411 | 19th reading | uint16_t | R/W | 1 |  | 0
| 0x6B14 | 0x6B14 | 27412 | 27412 | 20th reading | uint16_t | R/W | 1 |  | 0
| 0x6B15 | 0x6B15 | 27413 | 27413 | 21st reading | uint16_t | R/W | 1 |  | 0
| 0x6B16 | 0x6B16 | 27414 | 27414 | 22nd reading | uint16_t | R/W | 1 |  | 0
| 0x6B17 | 0x6B17 | 27415 | 27415 | 23rd reading | uint16_t | R/W | 1 |  | 0
| 0x6B18 | 0x6B18 | 27416 | 27416 | 24th reading | uint16_t | R/W | 1 |  | 0
| 0x6B19 | 0x6B19 | 27417 | 27417 | 25th reading | uint16_t | R/W | 1 |  | 0
| 0x6B1A | 0x6B1A | 27418 | 27418 | 26th reading | uint16_t | R/W | 1 |  | 0
| 0x6B1B | 0x6B1B | 27419 | 27419 | 27th reading | uint16_t | R/W | 1 |  | 0
| 0x6B1C | 0x6B1C | 27420 | 27420 | 28th reading | uint16_t | R/W | 1 |  | 0
| 0x6B1D | 0x6B1D | 27421 | 27421 | 29th reading | uint16_t | R/W | 1 |  | 0
| 0x6B1E | 0x6B1E | 27422 | 27422 | 30th reading | uint16_t | R/W | 1 |  | 0
| 0x6B1F | 0x6B1F | 27423 | 27423 | 31st reading | uint16_t | R/W | 1 |  | 0
| 0x6B20 | 0x6B20 | 27424 | 27424 | 32nd reading | uint16_t | R/W | 1 |  | 0
| 0x6B21 | 0x6B21 | 27425 | 27425 | 33rd reading | uint16_t | R/W | 1 |  | 0
| 0x6B22 | 0x6B22 | 27426 | 27426 | 34th reading | uint16_t | R/W | 1 |  | 0
| 0x6B23 | 0x6B23 | 27427 | 27427 | 35th reading | uint16_t | R/W | 1 |  | 0
| 0x6B24 | 0x6B24 | 27428 | 27428 | 36th reading | uint16_t | R/W | 1 |  | 0
| 0x6B25 | 0x6B25 | 27429 | 27429 | 37th reading | uint16_t | R/W | 1 |  | 0
| 0x6B26 | 0x6B26 | 27430 | 27430 | 38th reading | uint16_t | R/W | 1 |  | 0
| 0x6B27 | 0x6B27 | 27431 | 27431 | 39th reading | uint16_t | R/W | 1 |  | 0
| 0x6B28 | 0x6B28 | 27432 | 27432 | 40th reading | uint16_t | R/W | 1 |  | 0
Custom reading | 0x6A00 | 0x6A00 | 27136 | 27136 | 1st reading | uint16_t | R | 1
| 0x6A01 | 0x6A01 | 27137 | 27137 | 2nd reading | uint16_t | R | 1
| 0x6A02 | 0x6A02 | 27138 | 27138 | 3rd reading | uint16_t | R | 1
| 0x6A03 | 0x6A03 | 27139 | 27139 | 4th reading | uint16_t | R | 1
| 0x6A04 | 0x6A04 | 27140 | 27140 | 5th reading | uint16_t | R | 1
| 0x6A05 | 0x6A05 | 27141 | 27141 | 6th reading | uint16_t | R | 1
| 0x6A06 | 0x6A06 | 27142 | 27142 | 7th reading | uint16_t | R | 1
| 0x6A07 | 0x6A07 | 27143 | 27143 | 8th reading | uint16_t | R | 1
| 0x6A08 | 0x6A08 | 27144 | 27144 | 9th reading | uint16_t | R | 1
| 0x6A09 | 0x6A09 | 27145 | 27145 | 10th reading | uint16_t | R | 1
| 0x6A0A | 0x6A0A | 27146 | 27146 | 11th reading | uint16_t | R | 1
| 0x6A0B | 0x6A0B | 27147 | 27147 | 12th reading | uint16_t | R | 1
| 0x6A0C | 0x6A0C | 27148 | 27148 | 13th reading | uint16_t | R | 1
| 0x6A0D | 0x6A0D | 27149 | 27149 | 14th reading | uint16_t | R | 1
| 0x6A0E | 0x6A0E | 27150 | 27150 | 15th reading | uint16_t | R | 1
| 0x6A0F | 0x6A0F | 27151 | 27151 | 16th reading | uint16_t | R | 1
| 0x6A10 | 0x6A10 | 27152 | 27152 | 17th reading | uint16_t | R | 1
| 0x6A11 | 0x6A11 | 27153 | 27153 | 18th reading | uint16_t | R | 1
| 0x6A12 | 0x6A12 | 27154 | 27154 | 19th reading | uint16_t | R | 1
| 0x6A13 | 0x6A13 | 27155 | 27155 | 20th reading | uint16_t | R | 1
| 0x6A14 | 0x6A14 | 27156 | 27156 | 21st reading | uint16_t | R | 1
| 0x6A15 | 0x6A15 | 27157 | 27157 | 22nd reading | uint16_t | R | 1
| 0x6A16 | 0x6A16 | 27158 | 27158 | 23rd reading | uint16_t | R | 1
| 0x6A17 | 0x6A17 | 27159 | 27159 | 24th reading | uint16_t | R | 1
| 0x6A18 | 0x6A18 | 27160 | 27160 | 25th reading | uint16_t | R | 1
| 0x6A19 | 0x6A19 | 27161 | 27161 | 26th reading | uint16_t | R | 1
| 0x6A1A | 0x6A1A | 27162 | 27162 | 27th reading | uint16_t | R | 1
| 0x6A1B | 0x6A1B | 27163 | 27163 | 28th reading | uint16_t | R | 1
| 0x6A1C | 0x6A1C | 27164 | 27164 | 29th reading | uint16_t | R | 1
| 0x6A1D | 0x6A1D | 27165 | 27165 | 30th reading | uint16_t | R | 1
| 0x6A1E | 0x6A1E | 27166 | 27166 | 31st reading | uint16_t | R | 1
| 0x6A1F | 0x6A1F | 27167 | 27167 | 32nd reading | uint16_t | R | 1
| 0x6A20 | 0x6A20 | 27168 | 27168 | 33rd reading | uint16_t | R | 1
| 0x6A21 | 0x6A21 | 27169 | 27169 | 34th reading | uint16_t | R | 1
| 0x6A22 | 0x6A22 | 27170 | 27170 | 35th reading | uint16_t | R | 1
| 0x6A23 | 0x6A23 | 27171 | 27171 | 36th reading | uint16_t | R | 1
| 0x6A24 | 0x6A24 | 27172 | 27172 | 37th reading | uint16_t | R | 1
| 0x6A25 | 0x6A25 | 27173 | 27173 | 38th reading | uint16_t | R | 1
| 0x6A26 | 0x6A26 | 27174 | 27174 | 39th reading | uint16_t | R | 1
| 0x6A27 | 0x6A27 | 27175 | 27175 | 40th reading | uint16_t | R | 1

## Readings
Block | Start(Hex) | End(Hex) | Start(Dec) | End(Dec) | Descrption | Data type | RW | Reg Num | Range | Default
Real-time Parameters (float) | 0x3000 | 0x3001 | 12288 | 12289 | V Source | float | R | 2
| 0x3002 | 0x3003 | 12290 | 12291 | Current 1 | float | R | 2
| 0x3004 | 0x3005 | 12292 | 12293 | Current 2 | float | R | 2
| 0x3006 | 0x3007 | 12294 | 12295 | Current Sum | float | R | 2
| 0x3008 | 0x3009 | 12296 | 12297 | Power 1 | float | R | 2
| 0x300A | 0x300B | 12298 | 12299 | Power 2 | float | R | 2
| 0x300C | 0x300D | 12300 | 12301 | Power Sum | float | R | 2
| 0x300E | 0x300F | 12302 | 12303 | Voltage Ripple Factor | float | R | 2
| 0x3010 | 0x3011 | 12304 | 12305 | Current Ripple Factor 1 | float | R | 2
| 0x3012 | 0x3013 | 12306 | 12307 | Current Ripple Factor 2 | float | R | 2
| 0x3014 | 0x301F | 12308 | 12319 | Reserved | float | R | 12
| 0x3020 | 0x3021 | 12320 | 12321 | V Load - Ch 1 | float | R | 2
| 0x3022 | 0x3023 | 12322 | 12323 | V Load - Ch 2 | float | R | 2
Real-time Parameters (float) 20ms | 0x3100 | 0x3101 | 12544 | 12545 | V Source | float | R | 2
| 0x3102 | 0x3103 | 12546 | 12547 | Current 1 | float | R | 2
| 0x3104 | 0x3105 | 12548 | 12549 | Current 2 | float | R | 2
| 0x3106 | 0x3107 | 12550 | 12551 | Current Sum | float | R | 2
| 0x3108 | 0x3109 | 12552 | 12553 | Power 1 | float | R | 2
| 0x310A | 0x310B | 12554 | 12555 | Power 2 | float | R | 2
| 0x310C | 0x310D | 12556 | 12557 | Power Sum | float | R | 2
| 0x310E | 0x310F | 12558 | 12559 | Voltage Ripple Factor | float | R | 2
| 0x3110 | 0x3111 | 12560 | 12561 | Current Ripple Factor 1 | float | R | 2
| 0x3112 | 0x3113 | 12562 | 12563 | Current Ripple Factor 2 | float | R | 2
| 0x3114 | 0x3115 | 12564 | 12565 | V Load - Ch 1 | float | R | 2
| 0x3116 | 0x3117 | 12566 | 12567 | V Load - Ch 2 | float | R | 2
Real-time Parameters (Int) | 0x3200 | 0x3200 | 12800 | 12800 | V Source | int16_t | R | 1
| 0x3201 | 0x3201 | 12801 | 12801 | Current 1 | int16_t | R | 1
| 0x3202 | 0x3202 | 12802 | 12802 | Current 2 | int16_t | R | 1
| 0x3203 | 0x3203 | 12803 | 12803 | Current Sum | int16_t | R | 1
| 0x3204 | 0x3204 | 12804 | 12804 | Power 1 | int16_t | R | 1
| 0x3205 | 0x3205 | 12805 | 12805 | Power 2 | int16_t | R | 1
| 0x3206 | 0x3206 | 12806 | 12806 | Power Sum | int16_t | R | 1
| 0x3207 | 0x3207 | 12807 | 12807 | Voltage Ripple Factor | int16_t | R | 1
| 0x3208 | 0x3208 | 12808 | 12808 | Current Ripple Factor 1 | int16_t | R | 1
| 0x3209 | 0x3209 | 12809 | 12809 | Current Ripple Factor 2 | int16_t | R | 1
| 0x320A | 0x320F | 12810 | 12815 | Reserved | int16_t | R | 6
| 0x3210 | 0x3210 | 12816 | 12816 | V Load - Ch 1 | int16_t | R | 1
| 0x3211 | 0x3211 | 12817 | 12817 | V Load - Ch 2 | int16_t | R | 1
Energy & Charge | 0x4000 | 0x4003 | 16384 | 16387 | Import Energy 1 | double | R/W | 4
| 0x4004 | 0x4007 | 16388 | 16391 | Export Energy 1 | double | R/W | 4
| 0x4008 | 0x400B | 16392 | 16395 | Net Energy 1 | double | R/W | 4
| 0x400C | 0x400F | 16396 | 16399 | Total Energy 1 | double | R/W | 4
| 0x4010 | 0x4013 | 16400 | 16403 | Import Energy 2 | double | R/W | 4
| 0x4014 | 0x4017 | 16404 | 16407 | Export Energy 2 | double | R/W | 4
| 0x4018 | 0x401B | 16408 | 16411 | Net Energy 2 | double | R/W | 4
| 0x401C | 0x401F | 16412 | 16415 | Total Energy 2 | double | R/W | 4
| 0x4020 | 0x4023 | 16416 | 16419 | Import Energy Sum | double | R/W | 4
| 0x4024 | 0x4027 | 16420 | 16423 | Export Energy Sum | double | R/W | 4
| 0x4028 | 0x402B | 16424 | 16427 | Net Energy Sum | double | R/W | 4
| 0x402C | 0x402F | 16428 | 16431 | Total Energy Sum | double | R/W | 4
| 0x4030 | 0x4033 | 16432 | 16435 | Import Charge 1 | double | R/W | 4
| 0x4034 | 0x4037 | 16436 | 16439 | Export Charge 1 | double | R/W | 4
| 0x4038 | 0x403B | 16440 | 16443 | Net Charge 1 | double | R/W | 4
| 0x403C | 0x403F | 16444 | 16447 | Total Charge 1 | double | R/W | 4
| 0x4040 | 0x4043 | 16448 | 16451 | Import Charge 2 | double | R/W | 4
| 0x4044 | 0x4047 | 16452 | 16455 | Export Charge 2 | double | R/W | 4
| 0x4048 | 0x404B | 16456 | 16459 | Net Charge 2 | double | R/W | 4
| 0x404C | 0x404F | 16460 | 16463 | Total Charge 2 | double | R/W | 4
| 0x4050 | 0x4053 | 16464 | 16467 | Import Charge Sum | double | R/W | 4
| 0x4054 | 0x4057 | 16468 | 16471 | Export Charge Sum | double | R/W | 4
| 0x4058 | 0x405B | 16472 | 16475 | Net Charge Sum | double | R/W | 4
| 0x405C | 0x405F | 16476 | 16479 | Total Charge Sum | double | R/W | 4

## MaxMin
Block | Start(Hex) | End(Hex) | Start(Dec) | End(Dec) | Descrption | Data type | RW | Reg Num | Range | Default
Max | 0x4136 | 0x4137 | 16694 | 16695 | V Max Value | float | R | 2
| 0x4138 | 0x413D | 16696 | 16701 | V Max Timestamp ( year： uint16_t month： uint16_t day： uint16_t hour： uint16_t min： uint16_t sec： uint16_t ) | timestamp | R | 6
| 0x413E | 0x413F | 16702 | 16703 | I1 Max Value | float | R | 2
| 0x4140 | 0x4145 | 16704 | 16709 | I1 Max Timestamp | timestamp | R | 6
| 0x4146 | 0x4147 | 16710 | 16711 | I2 Max Value | float | R | 2
| 0x4148 | 0x414D | 16712 | 16717 | I2 Max Timestamp | timestamp | R | 6
| 0x414E | 0x414F | 16718 | 16719 | Isum Max Value | float | R | 2
| 0x4150 | 0x4155 | 16720 | 16725 | Isum Max Timestamp | timestamp | R | 6
| 0x4156 | 0x4157 | 16726 | 16727 | P1 Max Value | float | R | 2
| 0x4158 | 0x415D | 16728 | 16733 | P1 Max Timestamp | timestamp | R | 6
| 0x415E | 0x415F | 16734 | 16735 | P2 Max Value | float | R | 2
| 0x4160 | 0x4165 | 16736 | 16741 | P2 Max Timestamp | timestamp | R | 6
| 0x4166 | 0x4167 | 16742 | 16743 | Psum Max Value | float | R | 2
| 0x4168 | 0x416D | 16744 | 16749 | Psum Max Timestamp | timestamp | R | 6
| 0x416E | 0x416F | 16750 | 16751 | Ripple factor U Max Value | float | R | 2
| 0x4170 | 0x4175 | 16752 | 16757 | Ripple factor U Max Timestamp | timestamp | R | 6
| 0x4176 | 0x4177 | 16758 | 16759 | Ripple factor I1 Max Value | float | R | 2
| 0x4178 | 0x417D | 16760 | 16765 | Ripple factor I1 Max Timestamp | timestamp | R | 6
| 0x417E | 0x417F | 16766 | 16767 | Ripple factor I2 Max Value | float | R | 2
| 0x4180 | 0x4185 | 16768 | 16773 | Ripple factor I2 Max Timestamp | timestamp | R | 6
| 0x4186 | 0x41B5 | 16774 | 16821 | Reserved | float | R | 48
| 0x41B6 | 0x41B7 | 16822 | 16823 | V1 Compensated Max Value | float | R | 2
| 0x41B8 | 0x41BD | 16824 | 16829 | V1 Compensated Max Timestamp | timestamp | R | 6
| 0x41BE | 0x41BF | 16830 | 16831 | V2 Compensated Max Value | float | R | 2
| 0x41C0 | 0x41C5 | 16832 | 16837 | V2 Compensated Max Timestamp | timestamp | R | 6
Min | 0x41E5 | 0x41E6 | 16869 | 16870 | V Min Value | float | R | 2
| 0x41E7 | 0x41EC | 16871 | 16876 | V Min Timestamp ( year： uint16_t month： uint16_t day： uint16_t hour： uint16_t min： uint16_t sec： uint16_t ) | timestamp | R | 6
| 0x41ED | 0x41EE | 16877 | 16878 | I1 Min Value | float | R | 2
| 0x41EF | 0x41F4 | 16879 | 16884 | I1 Min Timestamp | timestamp | R | 6
| 0x41F5 | 0x41F6 | 16885 | 16886 | I2 Min Value | float | R | 2
| 0x41F7 | 0x41FC | 16887 | 16892 | I2 Min Timestamp | timestamp | R | 6
| 0x41FD | 0x41FE | 16893 | 16894 | Isum Min Value | float | R | 2
| 0x41FF | 0x4204 | 16895 | 16900 | Isum Min Timestamp | timestamp | R | 6
| 0x4205 | 0x4206 | 16901 | 16902 | P1 Min Value | float | R | 2
| 0x4207 | 0x420C | 16903 | 16908 | P1 Min Timestamp | timestamp | R | 6
| 0x420D | 0x420E | 16909 | 16910 | P2 Min Value | float | R | 2
| 0x420F | 0x4214 | 16911 | 16916 | P2 Min Timestamp | timestamp | R | 6
| 0x4215 | 0x4216 | 16917 | 16918 | Psum Min Value | float | R | 2
| 0x4217 | 0x421C | 16919 | 16924 | Psum Min Timestamp | timestamp | R | 6
| 0x421D | 0x421E | 16925 | 16926 | Ripple factor U Min Value | float | R | 2
| 0x421F | 0x4224 | 16927 | 16932 | Ripple factor U Min Timestamp | timestamp | R | 6
| 0x4225 | 0x4226 | 16933 | 16934 | Ripple factor I1 Min Value | float | R | 2
| 0x4227 | 0x422C | 16935 | 16940 | Ripple factor I1 Min Timestamp | timestamp | R | 6
| 0x422D | 0x422E | 16941 | 16942 | Ripple factor I2 Min Value | float | R | 2
| 0x422F | 0x4234 | 16943 | 16948 | Ripple factor I2 Min Timestamp | timestamp | R | 6
| 0x4235 | 0x4236 | 16949 | 16950 | V1 Compensated Min Value | float | R | 2
| 0x4237 | 0x423C | 16951 | 16956 | V1 Compensated Min Timestamp | timestamp | R | 6
| 0x423D | 0x423E | 16957 | 16958 | V2 Compensated Min Value | float | R | 2
| 0x423F | 0x4244 | 16959 | 16964 | V2 Compensated Min Timestamp | timestamp | R | 6

## TransactionLog
Block | Start(Hex) | End(Hex) | Start(Dec) | End(Dec) | Description | Data type | R/W | Reg Num | Range | Default
Settings | 0x5000 | 0x5000 | 20480 | 20480 | channel 1 Identification Status | uint16_t | R/W | 1 | 0 = False 1 = True
| 0x5001 | 0x5001 | 20481 | 20481 | channel 1 Identification Level | uint16_t | R/W | 1 | 0 = “NONE”1 = “HEARSAY”2 = “TRUSTED” 3 = “VERIFIED” 4 = “CERTIFIED”5 = “SECURE”6 = “MISMATCH”7 = “INVALID” 8 = “OUTDATED”9= “UNKNOWN”
| 0x5002 | 0x5002 | 20482 | 20482 | channel 1 Identification Flags 1 | uint16_t | R/W | 1 | 0 = RFID_NONE (Default) 1 = RFID_PLAIN 2 = RFID_RELATED 3 = RFID_PSK
| 0x5003 | 0x5003 | 20483 | 20483 | channel 1 Identification Flags 2 | uint16_t | R/W | 1 | 0 = OCPP_NONE (Default) 1 = OCPP_RS 2 = OCPP_AUTH 3 = OCPP_RS_TLS 4 = OCPP_AUTH_TLS 5 = OCPP_CACHE 6 = OCPP_WHITELIST 7 = OCPP_CERTIFIED
| 0x5004 | 0x5004 | 20484 | 20484 | channel 1 Identification Flags 3 | uint16_t | R/W | 1 | 0 = ISO15118_NONE (Default) 1 = ISO15118_PNC
| 0x5005 | 0x5005 | 20485 | 20485 | channel 1 Identification Flags 4 | uint16_t | R/W | 1 | 0 = PLMN_NONE (Default) 1 = PLMN_RING 2 = PLMN_SMS
| 0x5006 | 0x5006 | 20486 | 20486 | channel 1 Identification Type | uint16_t | R/W | 1 | 0 = NONE (Default) 1 = DENIED 2 = UNDEFINED 3 = ISO14443 4 = ISO15693 5 = EMAID 6 = EVCCID 7 = EVCOID 8 = ISO7812 9 = CARD_TXN_NR 10 = CENTRAL 11 = CENTRAL_1 12 = CENTRAL_2 13 = LOCAL 14 = LOCAL_1 15 = LOCAL_2 16 = PHONE_NUMBER 17 = KEY_CODE
| 0x5007 | 0x501A | 20487 | 20506 | channel 1 Identification Data | string | R/W | 20 | ASCII string, 40 bytes (20 registers), padded with 0x00
| 0x501B | 0x502E | 20507 | 20526 | channel 1 Tariff Text | string | R/W | 20 | ASCII string, 40bytes (20 registers), padded with 0x00
| 0x502F | 0x502F | 20527 | 20527 | transaction timeout 1 in seconds | uint16_t | R/W | 1 | default 0 (disabled)， range: 3600~64800
| 0x5030 | 0x5030 | 20528 | 20528 | channel 1 CT: Charge Point Identification Type | uint16_t | R/W | 1 | 0: EVSEID 1: CBIDC
| 0x5031 | 0x5044 | 20529 | 20548 | channel 1 CI: Charge Point Identification | string | R/W | 20 | ASCII string, 40 bytes (20 registers), padded with 0x00
| 0x5045 | 0x5045 | 20549 | 20549 | Time zone shift | int16_t | R/W | 1 | Max = 1440 Min = -1440, default = 0 in minutes | 0
| 0x5046 | 0x5049 | 20550 | 20553 | Reserved | uint64_t | R/W | 4 | Default = 0
| 0x504A | 0x504A | 20554 | 20554 | channel 2 Identification Status | uint16_t | R/W | 1 | 0 = False 1 = True
| 0x504B | 0x504B | 20555 | 20555 | channel 2 Identification Level | uint16_t | R/W | 1 | 0 = “NONE”1 = “HEARSAY”2 = “TRUSTED” 3 = “VERIFIED” 4 = “CERTIFIED”5 = “SECURE”6 = “MISMATCH”7 = “INVALID” 8 = “OUTDATED”9= “UNKNOWN”
| 0x504C | 0x504C | 20556 | 20556 | channel 2 Identification Flags 1 | uint16_t | R/W | 1 | 0 = RFID_NONE (Default) 1 = RFID_PLAIN 2 = RFID_RELATED 3 = RFID_PSK
| 0x504D | 0x504D | 20557 | 20557 | channel 2 Identification Flags 2 | uint16_t | R/W | 1 | 0 = OCPP_NONE (Default) 1 = OCPP_RS 2 = OCPP_AUTH 3 = OCPP_RS_TLS 4 = OCPP_AUTH_TLS 5 = OCPP_CACHE 6 = OCPP_WHITELIST 7 = OCPP_CERTIFIED
| 0x504E | 0x504E | 20558 | 20558 | channel 2 Identification Flags 3 | uint16_t | R/W | 1 | 0 = ISO15118_NONE (Default) 1 = ISO15118_PNC
| 0x504F | 0x504F | 20559 | 20559 | channel 2 Identification Flags 4 | uint16_t | R/W | 1 | 0 = PLMN_NONE (Default) 1 = PLMN_RING 2 = PLMN_SMS
| 0x5050 | 0x5050 | 20560 | 20560 | channel 2 Identification Type | uint16_t | R/W | 1 | 0 = NONE (Default) 1 = DENIED 2 = UNDEFINED 3 = ISO14443 4 = ISO15693 5 = EMAID 6 = EVCCID 7 = EVCOID 8 = ISO7812 9 = CARD_TXN_NR 10 = CENTRAL 11 = CENTRAL_1 12 = CENTRAL_2 13 = LOCAL 14 = LOCAL_1 15 = LOCAL_2 16 = PHONE_NUMBER 17 = KEY_CODE
| 0x5051 | 0x5064 | 20561 | 20580 | channel 2 Identification Data | string | R/W | 20 | ASCII string, 40 bytes (20 registers), padded with 0x00
| 0x5065 | 0x5078 | 20581 | 20600 | channel 2 Tariff Text | string | R/W | 20 | ASCII string, 40 bytes (20 registers), padded with 0x00
| 0x5079 | 0x5079 | 20601 | 20601 | channel 2 CT: Charge Point Identification Type | uint16_t | R/W | 1 | 0: EVSEID 1: CBIDC
| 0x507A | 0x508D | 20602 | 20621 | channel 2 CI: Charge Point Identification | string | R/W | 20 | ASCII string, 40 bytes (20 registers), padded with 0x00
| 0x508E | 0x508E | 20622 | 20622 | transaction timeout 2 in seconds | uint16_t | R/W | 1 | default 0 (disabled)， range: 3600~64800
Block & Id | 0x5100 | 0x5100 | 20736 | 20736 | current Block id | uint16_t | R | 1
| 0x5101 | 0x5101 | 20737 | 20737 | current address | uint16_t | R | 1
| 0x5102 | 0x5103 | 20738 | 20739 | min Transaction Id | uint32_t | R | 2
| 0x5104 | 0x5105 | 20740 | 20741 | max Transaction Id | uint32_t | R | 2
| 0x5106 | 0x5106 | 20742 | 20742 | full (low byte) | uint16_t | R | 1 | 0: not full 1: sector is full
Reading | 0x5200 | 0x5200 | 20992 | 20992 | channel 1 OCMF Command | uint16_t | R/W | 1 | 0: do nothing "B" = start transaction "E" = End of transaction "A" = Abort transaction
| 0x5201 | 0x5201 | 20993 | 20993 | OCMF file generate state | uint16_t | R | 1 | 0 = not ready 1 = ready to generate 2 = generating 3 = ready to read 4 = transaction is in charging
| 0x5202 | 0x5205 | 20994 | 20997 | transaction Time | uint64_t | R | 4
| 0x5206 | 0x5206 | 20998 | 20998 | timeSync status | uint16_t | R | 1 | 0 = Time not synchronized 1 = Time synchronized
| 0x5207 | 0x520A | 20999 | 21002 | Channel 1 Transaction Import Energy in kWh | double | R | 4
| 0x520B | 0x520E | 21003 | 21006 | Channel 1 Transaction Export Energy in kWh | double | R | 4
| 0x520F | 0x5210 | 21007 | 21008 | Channel 1 Duration (in second) | uint32_t | R | 2
| 0x5211 | 0x5211 | 21009 | 21009 | Channel 1 transaction running status | uint16_t | R | 1 | 0 = idle 1 = charging 2 = out of power 3 = end normally 4 = canceled 5 = end with overtime
| 0x5212 | 0x5213 | 21010 | 21011 | OFFSET | uint32_t | R/W | 2
| 0x5214 | 0x5215 | 21012 | 21013 | ocmf last transaction id | uint32_t | R | 2
| 0x5216 | 0x5217 | 21014 | 21015 | ocmf first transaction id | uint32_t | R | 2
| 0x5218 | 0x5219 | 21016 | 21017 | transactionLog id | uint32_t | R/W | 2 | transactionLog id for reading OCMF
| 0x521A | 0x521A | 21018 | 21018 | transactionLog OCMF file size | uint16_t | R | 1
| 0x521B | 0x5472 | 21019 | 21618 | transactionLog OCMF data | uint8_t | R | 600
| 0x5473 | 0x5473 | 21619 | 21619 | Channel Number for OCMF file | uint16_t | R | 1 | 1: Channel 1 2: Channel 2
| 0x5474 | 0x5477 | 21620 | 21623 | Channel 1 Transaction Start Time | uint64_t | R | 4
| 0x5478 | 0x5478 | 21624 | 21624 | channel 2 OCMF Command | uint16_t | R/W | 1 | 0: do nothing "B" = start transaction "E" = End of transaction "A" = Abort transaction
| 0x5479 | 0x547C | 21625 | 21628 | Channel 2 Transaction Import Energy in kWh | double | R | 4
| 0x547D | 0x5480 | 21629 | 21632 | Channel 2 Transaction Export Energy in kWh | double | R | 4
| 0x5481 | 0x5482 | 21633 | 21634 | Channel 2 Duration (in second) | uint32_t | R | 2
| 0x5483 | 0x5483 | 21635 | 21635 | Channel 2 transaction running status | uint16_t | R | 1 | 0 = idle 1 = charging 2 = out of power 3 = end normally 4 = canceled 5 = end with overtime
| 0x5484 | 0x5487 | 21636 | 21639 | Channel 2 Transaction Start Time | uint64_t | R | 4
| 0x5488 | 0x5489 | 21640 | 21641 | transaction id for channel 1 in charging | uint32_t | R | 2
| 0x548A | 0x548B | 21642 | 21643 | transaction id for channel 2 in charging | uint32_t | R | 2
Status | 0x5500 | 0x5501 | 21760 | 21761 | Max Records | uint32_t | R | 2
| 0x5502 | 0x5503 | 21762 | 21763 | Used Records | uint32_t | R | 2
| 0x5504 | 0x5504 | 21764 | 21764 | Recordsize | uint16_t | R | 1 | fixed as 63
Public Key | 0xF0C0 | 0xF0ED | 61632 | 61677 | public key | uint8_t | 46 | R | public key of .der format, totally 91 bytes

## EchiLog
Block | Start(Hex) | End(Hex) | Start(Dec) | End(Dec) | Description | Data type | RW | Reg Num | Range | Default
Echilog Status | 0x5700 | 0x5700 | 22272 | 22272 | Max Records | uint16_t | R | 1 | Fixed as 6000
| 0x5701 | 0x5701 | 22273 | 22273 | Record Index | uint16_t | R | 1
| 0x5702 | 0x5702 | 22274 | 22274 | Echilog full status | uint16_t | R | 1 | 0x0000 - Not full 0x0001 - Full Others - Reserved
| 0x5703 | 0x5703 | 22275 | 22275 | Record Number | uint16_t | R | 1
Echilog Reading | 0x5800 | 0x5800 | 22528 | 22528 | The Echilog ID to to read | uint16_t | R/W | 1 | 1~6000
| 0x5801 | 0x5801 | 22529 | 22529 | The Echilog number need to read | uint16_t | R/W | 1 | Fixed as 0x01
| 0x5802 | 0x5802 | 22530 | 22530 | The Echilog read window status | uint16_t | R | 1 | 0x0B - The data windown is ready 0xFF - The request data is invalid;
| 0x5803 | 0x5803 | 22531 | 22531 | The signatured bytes size of the Echilog to be read | uint16_t | R | 1
| 0x5804 | 0x587B | 22532 | 22651 | Echilog data window | uint8_t | R | 120