## AcuRev1310
BACnet Points List AcuRev1310
Firmware v2.26
ID | Name | Object Description | Object Type | Units
Real-time metering (AI 1-31)
AI 1 | Freq_rms | Frequency | analog-input | hertz (27)
AI 2 | Ua_rms | Phase A Voltage | analog-input | volts (5)
AI 3 | Ub_rms | Phase B Voltage | analog-input | volts (5)
AI 4 | Uc_rms | Phase C Voltage | analog-input | volts (5)
AI 5 | Uavg_rms | Average Phase Voltage | analog-input | volts (5)
AI 6 | Uab_rms | Line Voltage AB | analog-input | volts (5)
AI 7 | Ubc_rms | Line Voltage BC | analog-input | volts (5)
AI 8 | Uca_rms | Line Voltage CA | analog-input | volts (5)
AI 9 | Ulavg_rms | Average Line Voltage | analog-input | volts (5)
AI 10 | Ia_rms | Phase A Current | analog-input | amperes (3)
AI 11 | Ib_rms | Phase B Current | analog-input | amperes (3)
AI 12 | Ic_rms | Phase C Current | analog-input | amperes (3)
AI 13 | I_rms | Total Current | analog-input | amperes (3)
AI 14 | In_rms | Neutral Current | analog-input | amperes (3)
AI 15 | Pa_rms | Phase A Active Power | analog-input | watts (47)
AI 16 | Pb_rms | Phase B Active Power | analog-input | watts (47)
AI 17 | Pc_rms | Phase C Active Power | analog-input | watts (47)
AI 18 | P_rms | Total Active Power | analog-input | watts (47)
AI 19 | Qa_rms | Phase A Reactive Power | analog-input | volt-amperes-reactive (11)
AI 20 | Qb_rms | Phase B Reactive Power | analog-input | volt-amperes-reactive (11)
AI 21 | Qc_rms | Phase C Reactive Power | analog-input | volt-amperes-reactive (11)
AI 22 | Q_rms | Total Reactive Power | analog-input | volt-amperes-reactive (11)
AI 23 | Sa_rms | Phase A Apparent Power | analog-input | volt-amperes (8)
AI 24 | Sb_rms | Phase B Apparent Power | analog-input | volt-amperes (8)
AI 25 | Sc_rms | Phase C Apparent Power | analog-input | volt-amperes (8)
AI 26 | S_rms | Total Apparent Power | analog-input | volt-amperes (8)
AI 27 | PFa_rms | Phase A Power Factor | analog-input | power-factor (15)
AI 28 | PFb_rms | Phase B Power Factor | analog-input | power-factor (15)
AI 29 | PFc_rms | Phase C Power Factor | analog-input | power-factor (15)
AI 30 | PF_rms | Total Power Factor | analog-input | power-factor (15)
AI 31 | Rlc_val | Load Type(0:Resistive load 1:Inductive load 2:Capacitive load) | analog-input | no-units (95)
Demand and demand prediction (AI 32-43)
AI 32 | P_dema | Active Power Demand | analog-input | watts (47)
AI 33 | Q_dema | Reactive Power Demand | analog-input | volt-amperes-reactive (11)
AI 34 | S_dema | Apparent Power Demand | analog-input | volt-amperes (8)
AI 35 | Ia_dema | Phase A Current Demand | analog-input | amperes (3)
AI 36 | Ib_dema | Phase B Current Demand | analog-input | amperes (3)
AI 37 | Ic_dema | Phase C Current Demand | analog-input | amperes (3)
AI 38 | P_dema_pre | System Active Power Demand Prediction | analog-input | watts (47)
AI 39 | Q_dema_pre | System Reactive Power Demand Prediction | analog-input | volt-amperes-reactive (11)
AI 40 | S_dema_pre | System Apparent Power Demand Prediction | analog-input | volt-amperes (8)
AI 41 | Ia_dema_pre | Phase A Current Demand Prediction | analog-input | amperes (3)
AI 42 | Ib_dema_pre | Phase B Current Demand Prediction | analog-input | amperes (3)
AI 43 | Ic_dema_pre | Phase C Current Demand Prediction | analog-input | amperes (3)
Device temperature (AI 44)
AI 44 | Temp_val | Temperature of chips | analog-input | degrees-celsius (62)
Energy (AI 45-82)
AI 45 | Active_Energy_Imp | Import Active Energy | analog-input | kilowatt-hours (19)
AI 46 | Active_Energy_Exp | Export Active Energy | analog-input | kilowatt-hours (19)
AI 47 | Reactive_Energy_Imp | Import Reactive Energy | analog-input | kilovolt-ampere-hours-reactive (204)
AI 48 | Reactive_Energy_Exp | Export Reactive Energy | analog-input | kilovolt-ampere-hours-reactive (204)
AI 49 | Apparent_Energy_Imp | Importe Apparent Power | analog-input | kilowatt-hours (19)
AI 50 | Apparent_Energy_Exp | Exported Apparent Power | analog-input | kilowatt-hours (19)
AI 51 | Active_Energy_Total | Active Energy Total | analog-input | kilowatt-hours (19)
AI 52 | Active_Energy_Net | Active Energy Net | analog-input | kilowatt-hours (19)
AI 53 | Reactive_Energy_Total | Reactive Energy Total | analog-input | kilovolt-ampere-hours-reactive (204)
AI 54 | Reactive_Energy_Net | Reactive Energy Net | analog-input | kilovolt-ampere-hours-reactive (204)
AI 55 | Active_Energy_Imp_A | Phase A Import Active Energy | analog-input | kilowatt-hours (19)
AI 56 | Active_Energy_Exp_A | Phase A Export Active Energy | analog-input | kilowatt-hours (19)
AI 57 | Active_Energy_Imp_B | Phase B Import Active Energy | analog-input | kilowatt-hours (19)
AI 58 | Active_Energy_Exp_B | Phase B Export Active Energy | analog-input | kilowatt-hours (19)
AI 59 | Active_Energy_Imp_C | Phase C Import Active Energy | analog-input | kilowatt-hours (19)
AI 60 | Active_Energy_Exp_C | Phase C Export Active Energy | analog-input | kilowatt-hours (19)
AI 61 | Reactive_Energy_Imp_Q1 | Reactive Imported Q1 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 62 | Reactive_Energy_Imp_Q2 | Reactive Imported Q2 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 63 | Reactive_Energy_Imp_Q3 | Reactive Imported Q3 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 64 | Reactive_Energy_Imp_Q4 | Reactive Imported Q4 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 65 | Reactive_Energy_Imp_Q1_A | Phase A Reactive Imported Q1 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 66 | Reactive_Energy_Imp_Q2_A | Phase A Reactive Imported Q2 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 67 | Reactive_Energy_Imp_Q3_A | Phase A Reactive Imported Q3 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 68 | Reactive_Energy_Imp_Q4_A | Phase A Reactive Imported Q4 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 69 | Reactive_Energy_Imp_Q1_B | Phase B Reactive Imported Q1 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 70 | Reactive_Energy_Imp_Q2_B | Phase B Reactive Imported Q2 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 71 | Reactive_Energy_Imp_Q3_B | Phase B Reactive Imported Q3 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 72 | Reactive_Energy_Imp_Q4_B | Phase B Reactive Imported Q4 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 73 | Reactive_Energy_Imp_Q1_C | Phase C Reactive Imported Q1 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 74 | Reactive_Energy_Imp_Q2_C | Phase C Reactive Imported Q2 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 75 | Reactive_Energy_Imp_Q3_C | Phase C Reactive Imported Q3 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 76 | Reactive_Energy_Imp_Q4_C | Phase C Reactive Imported Q4 | analog-input | kilovolt-ampere-hours-reactive (204)
AI 77 | Apparent_Energy_Imp_A | Phase A Import Apparent Energy | analog-input | kilowatt-hours (19)
AI 78 | Apparent_Energy_Exp_A | Phase A Export Apparent Energy | analog-input | kilowatt-hours (19)
AI 79 | Apparent_Energy_Imp_B | Phase B Import Apparent Energy | analog-input | kilowatt-hours (19)
AI 80 | Apparent_Energy_Exp_B | Phase B Export Apparent Energy | analog-input | kilowatt-hours (19)
AI 81 | Apparent_Energy_Imp_C | Phase C Import Apparent Energy | analog-input | kilowatt-hours (19)
AI 82 | Apparent_Energy_Exp_C | Phase C Export Apparent Energy | analog-input | kilowatt-hours (19)
Demand peaks and demand reset log (AI 83-94)
AI 83 | Max_Dema_P_Imp_Current | Current Imported Active Power Demand Peak | analog-input | kilowatts (48)
AI 84 | Max_Dema_P_Imp_Current_Time | 0000/00/00 00:00:00 -- The happening Time of Current Imported Active Power Demand Peak | analog-input | no-units (95)
AI 85 | Max_Dema_P_Exp_Current | Current Exported Active Power Demand Peak | analog-input | kilowatts (48)
AI 86 | Max_Dema_P_Exp_Current_Time | 0000/00/00 00:00:00 -- The happening Time of Current Exported Active Power Demand Peak | analog-input | no-units (95)
AI 87 | Max_Dema_P_Imp_Last_Month | Last Month Imported Active Power Demand Peak | analog-input | kilowatts (48)
AI 88 | Max_Dema_P_Imp_Last_Month_Time | 0000/00/00 00:00:00 -- The happening Time of Last Month Imported Active Power Demand Peak | analog-input | no-units (95)
AI 89 | Max_Dema_P_Exp_LastMonth | Last Month Exported Active Power Demand Peak | analog-input | kilowatts (48)
AI 90 | Max_Dema_P_Exp_Last_Month_Time | 0000/00/00 00:00:00 -- The happening Time of Last Month Exported Active Power Demand Peak | analog-input | no-units (95)
AI 91 | Dema_Clear_Times | Total Times of Demand Reset | analog-input | no-units (95)
AI 92 | Time_Last_Clear_Dema | 0000/00/00 00:00:00 -- Last Demand Reset Happening Time | analog-input | no-units (95)
AI 93 | Time_2nd_Last_Clear_Dema | 0000/00/00 00:00:00 -- 2nd Last Demand Reset Happening Time | analog-input | no-units (95)
AI 94 | Time_3rd_Last_Clear_Dema | 0000/00/00 00:00:00 -- 3rd Last Demand Reset Happening Time | analog-input | no-units (95)

## Note
Notes
Source:
AcuRev1310-Firmware v2.26 Date: Oct 10, 2026 BACnet Protocol Version: 1 BACnet Protocol Revision: 26 Objects are defined by the parameter mapping and BACnet mapper tables in the firmware database (createParamDefault).
Object counts:
Analog Input: 94 objects (instances 1-94)
Device :1 object
Availability:
RealTime metering Objects( Start 1 -End 31 ),Length :31
Demand and demand prediction Objects( Start 32 -End 43 ),Length :12
Device Temperature Object( Start 44 -End44 ),Length :1
Energy Objects( Start 45 -End 82),Length :38
Demand Peaks and Deamnd Reset Log( Start 83 -End 94 ),Length :12
Device Objects Configurable,Length :1